## Table 1
APP_18 — Emergency Equipment Log
Rev 3 · As at 24 April 2026 · Table 1
Ref | Revision | Issue Date | Next Review | Controlled By | Approved By
APP_18 | 3 | 1 June 2026 | 1 June 2027 | Sean Ashton (HSQE Consultant) | Aaron Mason, Director

## Table 2
APP_18 — Emergency Equipment Log
Rev 3 · As at 24 April 2026 · Table 2
Asset Description | Manufacturer | Type/Model | Asset/Serial No. | Supplier | Maintainer | Date Purchased | Warranty/Guarantee Period | Maintenance Interval | Maintenance Due Date
Fire Extinguisher - CO2 | Express Fire Equipment | 2kg CO2 | Unit 1 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026
Fire Extinguisher - CO2 | Express Fire Equipment | 2kg CO2 | Unit 2 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026
Fire Extinguisher - Foam | Express Fire Equipment | 6 ltr Foam | Unit 1 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026
Fire Extinguisher - Foam | Express Fire Equipment | 6 ltr Foam | Unit 2 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026
Fire Extinguisher - Foam | Express Fire Equipment | 6 ltr Foam | Unit 3 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026
Fire Blanket | Express Fire Equipment | Fire Blanket | Unit 1 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026
First Aid Kit - Burns | Reliance Medical Ltd | Burns First Aid Kit | FAK-BRN-001 | Reliance Medical | Site Supervisor | 01/06/2024 | 3 years from manufacture | Monthly | 01/11/2025
First Aid Kit - Workplace | Reliance Medical Ltd | HSE 20 Person | FAK-WRK-001 | Reliance Medical | Site Supervisor | 01/06/2024 | 3 years from manufacture | Monthly | 01/11/2025
First Aid Kit - Workplace | Reliance Medical Ltd | HSE 20 Person | FAK-WRK-002 | Reliance Medical | Site Supervisor | 01/03/2024 | 3 years from manufacture | Monthly | 01/11/2025
First Aid Kit - Vehicle | Reliance Medical Ltd | Vehicle First Aid Kit | FAK-VEH-001 | Reliance Medical | Site Supervisor | 01/07/2024 | 3 years from manufacture | Monthly | 01/11/2025
First Aid Kit - Vehicle | Reliance Medical Ltd | Vehicle First Aid Kit | FAK-VEH-002 | Reliance Medical | Site Supervisor | 01/07/2024 | 3 years from manufacture | Monthly | 01/11/2025
First Aid Kit - Vehicle | Reliance Medical Ltd | Vehicle First Aid Kit | FAK-VEH-003 | Reliance Medical | Site Supervisor | 01/07/2024 | 3 years from manufacture | Monthly | 01/11/2025

## Table 3
APP_18 — Emergency Equipment Log
Rev 3 · As at 24 April 2026 · Table 3
Equipment Type | Inspection Frequency | Inspector | Standard/Regulation
First Aid Kits | Monthly | Supervisor | HSE Guidelines
Spill Kits | Weekly | Site Teams | Environmental Policy
Fire Extinguishers | Annual | External Contractor | BS 5306
Gas Monitors | Pre-use + 6 monthly calibration | User/External | Manufacturer specs
Emergency Lights | Monthly test/Annual service | Supervisor/Contractor | BS 5266
Defibrillator | Weekly visual/Annual service | First Aider/Supplier | Manufacturer specs

## Table 4
APP_18 — Emergency Equipment Log
Rev 3 · As at 24 April 2026 · Table 4
Date | Equipment Type | Location | Inspector | Status | Seal Intact | Contents Check | Actions | Next Due
01/10/2025 | Burns First Aid Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | None required | 01/11/2025
01/10/2025 | HSE 20 Person Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | None required | 01/11/2025
01/10/2025 | HSE 20 Person Kit | Unit 2C Stour Road | A Mason | ✓ Pass | Yes | All items in date | None required | 01/11/2025
01/10/2025 | Vehicle First Aid x3 | Fleet Vehicles | A Mason | ✓ Pass | Yes | All items in date | None required | 01/11/2025
01/09/2025 | Burns First Aid Kit | Northampton Office | L Mason | ✓ Pass | Yes | All items in date | None required | 01/10/2025
01/09/2025 | HSE 20 Person Kit | Northampton Office | L Mason | ✓ Pass | Yes | All items in date | None required | 01/10/2025
01/09/2025 | HSE 20 Person Kit | Unit 2C Stour Road | L Mason | ✓ Pass | Yes | All items in date | None required | 01/10/2025
01/09/2025 | Vehicle First Aid x3 | Fleet Vehicles | L Mason | ✓ Pass | Yes | All items in date | None required | 01/10/2025
01/08/2025 | Burns First Aid Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | None required | 01/09/2025
01/08/2025 | HSE 20 Person Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | None required | 01/09/2025
01/08/2025 | HSE 20 Person Kit | Unit 2C Stour Road | A Mason | ✓ Pass | Yes | All items in date | None required | 01/09/2025
01/08/2025 | Vehicle First Aid x3 | Fleet Vehicles | A Mason | ✓ Pass | Yes | All items in date | None required | 01/09/2025
01/07/2025 | Burns First Aid Kit | Northampton Office | L Mason | ✓ Pass | Yes | All items in date | None required | 01/08/2025
01/07/2025 | HSE 20 Person Kit | Northampton Office | L Mason | ✓ Pass | Yes | All items in date | None required | 01/08/2025
01/07/2025 | HSE 20 Person Kit | Unit 2C Stour Road | L Mason | ✓ Pass | Yes | All items in date | None required | 01/08/2025
01/07/2025 | Vehicle First Aid x3 | Fleet Vehicles | L Mason | ✓ Pass | Yes | All items in date | Vehicle kits new - installed | 01/08/2025
01/06/2025 | Burns First Aid Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | New kit installed | 01/07/2025
01/06/2025 | HSE 20 Person Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | New kit installed | 01/07/2025
01/06/2025 | HSE 20 Person Kit | Unit 2C Stour Road | A Mason | ✓ Pass | Yes | All items in date | None required | 01/07/2025

## Table 5
APP_18 — Emergency Equipment Log
Rev 3 · As at 24 April 2026 · Table 5
Role | Responsibility
HSQE Manager | Maintain master equipment log; Schedule annual inspections; Review equipment adequacy
Site Supervisor | Conduct monthly inspections; Report defects; Ensure equipment availability
Operatives | Pre-use checks; Report missing/damaged equipment; Proper storage after use
Admin | Update records; Order replacements; Manage warranties

## Table 6
APP_18 — Emergency Equipment Log
Rev 3 · As at 24 April 2026 · Table 6
Location | Equipment Types Present
Northampton Office | Burns First Aid Kit, HSE 20 Person Kit, defibrillator, fire extinguishers, emergency grab bag
Unit 2C Stour Road | HSE 20 Person Kit, Fire extinguishers (2x CO2 2kg, 3x Foam 6ltr), Fire blanket
Each Vehicle | Vehicle First Aid Kit (sealed), spill kit, fire extinguisher, warning triangle
Site Welfare Units | First aid station, eye wash, fire extinguisher
Grab Lorries | Enhanced spill kit (100L), first aid kit, fire extinguisher