# EMERGENCY EQUIPMENT LOG

Document Reference: APP_18

Issue Number: 2

Issue Date: 16/10/2025

Review Cycle: Quarterly

Controlled By: HSQE Consultant

Document Type: Appendix

## Document Control Information

| Rev | Changes | Date | Approved By |
| --- | --- | --- | --- |
| 1 | Initial Issue | 01/10/2025 | Aaron Mason |
| 2 | Added first aid equipment register and inspection history | 16/10/2025 | Aaron Mason |

## 1. Purpose

This Emergency Equipment Log maintains a comprehensive register of all emergency response equipment owned and operated by A M Water Services Limited. It ensures that critical emergency equipment is properly maintained, inspected, and available for immediate deployment in accordance with ISO 45001:2018 Clause 8.2 (Emergency preparedness and response) and regulatory requirements.

## 2. Scope

This log covers:

• All emergency response equipment including first aid kits, spill kits, fire extinguishers, and emergency barriers

• Safety equipment required for emergency situations such as gas monitors and rescue equipment

• Communication devices designated for emergency use

• Maintenance schedules and inspection records

• Warranty tracking and replacement planning

## 3. Equipment Categories

Emergency equipment is categorised as follows:

• First Aid Equipment: First aid kits, defibrillators, emergency blankets

• Spill Response: Spill kits, absorbent materials, containment booms

• Fire Safety: Fire extinguishers, fire blankets, smoke alarms

• Rescue Equipment: Harnesses, tripods, winches for confined space rescue

• Detection Equipment: Gas monitors, chlorine detectors

• Communication: Emergency phones, satellite communicators

• Barriers & Signs: Emergency cordon tape, warning signs, traffic management

## 4. Emergency Equipment Register

| Asset Description | Manufacturer | Type/Model | Asset/Serial No. | Supplier | Maintainer | Date Purchased | Warranty/Guarantee Period | Maintenance Interval | Maintenance Due Date |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Fire Extinguisher - CO2 | Express Fire Equipment | 2kg CO2 | Unit 1 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026 |
| Fire Extinguisher - CO2 | Express Fire Equipment | 2kg CO2 | Unit 2 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026 |
| Fire Extinguisher - Foam | Express Fire Equipment | 6 ltr Foam | Unit 1 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026 |
| Fire Extinguisher - Foam | Express Fire Equipment | 6 ltr Foam | Unit 2 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026 |
| Fire Extinguisher - Foam | Express Fire Equipment | 6 ltr Foam | Unit 3 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026 |
| Fire Blanket | Express Fire Equipment | Fire Blanket | Unit 1 | Oxford Fire Solutions | Oxford Fire Solutions | TBC | As per BS 5306 | Annual | 24/09/2026 |
| First Aid Kit - Burns | Reliance Medical Ltd | Burns First Aid Kit | FAK-BRN-001 | Reliance Medical | Site Supervisor | 01/06/2024 | 3 years from manufacture | Monthly | 01/11/2025 |
| First Aid Kit - Workplace | Reliance Medical Ltd | HSE 20 Person | FAK-WRK-001 | Reliance Medical | Site Supervisor | 01/06/2024 | 3 years from manufacture | Monthly | 01/11/2025 |
| First Aid Kit - Workplace | Reliance Medical Ltd | HSE 20 Person | FAK-WRK-002 | Reliance Medical | Site Supervisor | 01/03/2024 | 3 years from manufacture | Monthly | 01/11/2025 |
| First Aid Kit - Vehicle | Reliance Medical Ltd | Vehicle First Aid Kit | FAK-VEH-001 | Reliance Medical | Site Supervisor | 01/07/2024 | 3 years from manufacture | Monthly | 01/11/2025 |
| First Aid Kit - Vehicle | Reliance Medical Ltd | Vehicle First Aid Kit | FAK-VEH-002 | Reliance Medical | Site Supervisor | 01/07/2024 | 3 years from manufacture | Monthly | 01/11/2025 |
| First Aid Kit - Vehicle | Reliance Medical Ltd | Vehicle First Aid Kit | FAK-VEH-003 | Reliance Medical | Site Supervisor | 01/07/2024 | 3 years from manufacture | Monthly | 01/11/2025 |

## 5. Maintenance Requirements

### 5.1 Inspection Frequencies

| Equipment Type | Inspection Frequency | Inspector | Standard/Regulation |
| --- | --- | --- | --- |
| First Aid Kits | Monthly | Supervisor | HSE Guidelines |
| Spill Kits | Weekly | Site Teams | Environmental Policy |
| Fire Extinguishers | Annual | External Contractor | BS 5306 |
| Gas Monitors | Pre-use + 6 monthly calibration | User/External | Manufacturer specs |
| Emergency Lights | Monthly test/Annual service | Supervisor/Contractor | BS 5266 |
| Defibrillator | Weekly visual/Annual service | First Aider/Supplier | Manufacturer specs |

### 5.2 Maintenance Records

Detailed maintenance records for each item of equipment are maintained separately and include:

• Date of inspection/maintenance

• Person conducting the inspection

• Defects identified

• Actions taken

• Next inspection due date

Recent Service Record:

• Service Date: 24/09/2025

• Service Provider: Oxford Fire Solutions

• Service Report Reference: Available on file

• Items Serviced: 6 units (2x CO2 2kg, 3x Foam 6ltr, 1x Fire Blanket)

• Next Service Due: 24/09/2026

• Approved By: K Mason (Director)

### 5.3 First Aid Kit Inspection History (2025)

| Date | Equipment Type | Location | Inspector | Status | Seal Intact | Contents Check | Actions | Next Due |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 01/10/2025 | Burns First Aid Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | None required | 01/11/2025 |
| 01/10/2025 | HSE 20 Person Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | None required | 01/11/2025 |
| 01/10/2025 | HSE 20 Person Kit | Unit 2C Stour Road | A Mason | ✓ Pass | Yes | All items in date | None required | 01/11/2025 |
| 01/10/2025 | Vehicle First Aid x3 | Fleet Vehicles | A Mason | ✓ Pass | Yes | All items in date | None required | 01/11/2025 |
| 01/09/2025 | Burns First Aid Kit | Northampton Office | L Mason | ✓ Pass | Yes | All items in date | None required | 01/10/2025 |
| 01/09/2025 | HSE 20 Person Kit | Northampton Office | L Mason | ✓ Pass | Yes | All items in date | None required | 01/10/2025 |
| 01/09/2025 | HSE 20 Person Kit | Unit 2C Stour Road | L Mason | ✓ Pass | Yes | All items in date | None required | 01/10/2025 |
| 01/09/2025 | Vehicle First Aid x3 | Fleet Vehicles | L Mason | ✓ Pass | Yes | All items in date | None required | 01/10/2025 |
| 01/08/2025 | Burns First Aid Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | None required | 01/09/2025 |
| 01/08/2025 | HSE 20 Person Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | None required | 01/09/2025 |
| 01/08/2025 | HSE 20 Person Kit | Unit 2C Stour Road | A Mason | ✓ Pass | Yes | All items in date | None required | 01/09/2025 |
| 01/08/2025 | Vehicle First Aid x3 | Fleet Vehicles | A Mason | ✓ Pass | Yes | All items in date | None required | 01/09/2025 |
| 01/07/2025 | Burns First Aid Kit | Northampton Office | L Mason | ✓ Pass | Yes | All items in date | None required | 01/08/2025 |
| 01/07/2025 | HSE 20 Person Kit | Northampton Office | L Mason | ✓ Pass | Yes | All items in date | None required | 01/08/2025 |
| 01/07/2025 | HSE 20 Person Kit | Unit 2C Stour Road | L Mason | ✓ Pass | Yes | All items in date | None required | 01/08/2025 |
| 01/07/2025 | Vehicle First Aid x3 | Fleet Vehicles | L Mason | ✓ Pass | Yes | All items in date | Vehicle kits new - installed | 01/08/2025 |
| 01/06/2025 | Burns First Aid Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | New kit installed | 01/07/2025 |
| 01/06/2025 | HSE 20 Person Kit | Northampton Office | A Mason | ✓ Pass | Yes | All items in date | New kit installed | 01/07/2025 |
| 01/06/2025 | HSE 20 Person Kit | Unit 2C Stour Road | A Mason | ✓ Pass | Yes | All items in date | None required | 01/07/2025 |

Notes:

• All first aid kits are Reliance Medical branded and remain sealed with tamper-evident seals

• Expiry dates on all items checked during inspection - all within date

• Emergency contact information cards present in all kits

• #TEAM approach ensures multiple trained first aiders have access to equipment

## 6. Responsibilities

| Role | Responsibility |
| --- | --- |
| HSQE Manager | Maintain master equipment log; Schedule annual inspections; Review equipment adequacy |
| Site Supervisor | Conduct monthly inspections; Report defects; Ensure equipment availability |
| Operatives | Pre-use checks; Report missing/damaged equipment; Proper storage after use |
| Admin | Update records; Order replacements; Manage warranties |

## 7. Replacement Criteria

Equipment shall be replaced when:

• Warranty/service life has expired

• Damage affects functionality

• Regulatory changes require upgraded specifications

• Post-incident inspection identifies defects

• Manufacturer issues safety recall

## 8. Emergency Equipment Locations

| Location | Equipment Types Present |
| --- | --- |
| Northampton Office | Burns First Aid Kit, HSE 20 Person Kit, defibrillator, fire extinguishers, emergency grab bag |
| Unit 2C Stour Road | HSE 20 Person Kit, Fire extinguishers (2x CO2 2kg, 3x Foam 6ltr), Fire blanket |
| Each Vehicle | Vehicle First Aid Kit (sealed), spill kit, fire extinguisher, warning triangle |
| Site Welfare Units | First aid station, eye wash, fire extinguisher |
| Grab Lorries | Enhanced spill kit (100L), first aid kit, fire extinguisher |

## 9. Review and Update

This log shall be:

• Updated immediately when equipment is added, removed, or serviced

• Reviewed quarterly by the HSQE Consultant

• Audited annually as part of emergency preparedness review

• Cross-referenced with emergency drill findings

────────────────────────────────────────────────────────────

This document forms part of A M Water Services Limited's Integrated Management System and should be read in conjunction with the IMS Manual (MAN_01) and relevant Standard Operating Procedures.