RA_HO_03 — Home Electrical Safety

A M Water Services Ltd — Risk Assessment

## Document Information

| Document Reference | RA_HO_03 |
| --- | --- |
| Issue Date | 04/07/2025 |
| Next Review | 04/07/2026 |
| Assessed By | Sean Ashton (HSQE Consultant) |
| Approved By | Aaron Mason, Director |
| Classification | Controlled |

## Task/Activity

Use of electrical equipment in home office environments

## Location

Home offices and remote working locations

## Persons at Risk

Remote staff

Household members

Visitors to home office

## Hazards and Controls

| Hazard | Existing Controls | S | L | R | Additional Controls | S | L | R |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Electrical hazards from overloaded sockets | Home working checklist, guidance provided | 3 | 2 | 🟡 6 | Surge protector provision, load management training | 2 | 1 | 🟢 2 |
| Faulty equipment | PAT tested equipment provision | 3 | 2 | 🟡 6 | Annual home safety assessments, equipment replacement program | 2 | 1 | 🟢 2 |
| Inadequate electrical setup | Basic safety guidance | 3 | 2 | 🟡 6 | Electrical safety training, professional setup support | 2 | 1 | 🟢 2 |
| Trailing cables creating trip hazards | Cable management guidance | 2 | 3 | 🟡 6 | Cable management kit provision, wireless equipment | 2 | 1 | 🟢 2 |
| Fire from electrical faults | Smoke detector requirements | 4 | 1 | 🟢 4 | Fire extinguisher provision, emergency plan | 4 | 1 | 🟢 4 |
| Electric shock from damaged cables | Visual inspection guidance | 3 | 2 | 🟡 6 | Regular cable replacement, protective conduits | 3 | 1 | 🟢 3 |
| Poor earthing/grounding | RCD protection advised | 3 | 2 | 🟡 6 | RCD adapter provision, earth testing | 3 | 1 | 🟢 3 |

## PPE Requirements

Not applicable

## Training Requirements

Electrical safety awareness

Visual inspection training

Emergency response

Fire safety

PAT testing basics

## Emergency Procedures

Electrical isolation procedures

Fire evacuation plan

Emergency contacts displayed

First aid for electrical injuries

Incident reporting

## Monitoring

Annual safety assessments

PAT testing schedule

Incident reporting

Equipment register maintained

This document forms part of A M Water Services Limited's Integrated Management System. Paper copies are uncontrolled when printed.