RA_HO_06 — Office Fire Safety

A M Water Services Ltd — Risk Assessment

## Document Information

| Document Reference | RA_HO_06 |
| --- | --- |
| Issue Date | 04/07/2025 |
| Next Review | 04/07/2026 |
| Assessed By | Sean Ashton (HSQE Consultant) |
| Approved By | Aaron Mason, Director |
| Classification | Controlled |

## Task/Activity

Fire prevention and emergency response in office environments

## Location

All office locations and home offices

## Persons at Risk

Office staff

Visitors

Contractors

Neighbouring properties

## Hazards and Controls

| Hazard | Existing Controls | S | L | R | Additional Controls | S | L | R |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Fire outbreak | Fire risk assessment, detection systems | 4 | 1 | 🟢 4 | Enhanced detection, suppression systems | 4 | 1 | 🟢 4 |
| Smoke inhalation | Smoke alarms, evacuation routes | 4 | 1 | 🟢 4 | Additional training, refuge areas | 4 | 1 | 🟢 4 |
| Blocked escape routes | Monthly checks, clear routes policy | 4 | 1 | 🟢 4 | Quarterly drills, improved signage | 4 | 1 | 🟢 4 |
| Electrical fires | PAT testing, equipment maintenance | 3 | 2 | 🟡 6 | Thermal imaging checks, arc fault detection | 3 | 1 | 🟢 3 |
| Combustible materials | Storage procedures, housekeeping | 3 | 2 | 🟡 6 | Fire resistant cabinets, clear desk policy | 3 | 1 | 🟢 3 |
| Disabled person evacuation | PEEPs in place, trained assistants | 4 | 1 | 🟢 4 | Evacuation chairs, refuge points | 4 | 1 | 🟢 4 |
| Fire spread between areas | Fire doors, compartmentation | 4 | 1 | 🟢 4 | Door closers maintenance, seal checks | 4 | 1 | 🟢 4 |
| Arson | Security measures, CCTV | 3 | 1 | 🟢 3 | Enhanced lighting, access control | 3 | 1 | 🟢 3 |

## PPE Requirements

Fire wardens: High visibility vests

Fire extinguisher training: Heat resistant gloves

## Training Requirements

Fire awareness training

Fire warden training

Evacuation procedures

Fire extinguisher use

Assembly point procedures

PEEP implementation

## Emergency Procedures

Fire evacuation plan

Assembly point procedures

Roll call process

Fire service liaison

Business continuity activation

## Monitoring

Monthly alarm tests

Quarterly evacuation drills

Annual risk assessment review

Fire warden competency checks

Fire door inspections

This document forms part of A M Water Services Limited's Integrated Management System. Paper copies are uncontrolled when printed.