RA_HO_17 — Fire Safety Management

A M Water Services Ltd — Risk Assessment

## Document Information

| Document Reference | RA_HO_17 |
| --- | --- |
| Issue Date | 04/07/2025 |
| Next Review | 04/07/2026 |
| Assessed By | Sean Ashton (HSQE Consultant) |
| Approved By | Aaron Mason, Director |
| Classification | Controlled |

## Task/Activity

Comprehensive fire safety management across all locations

## Location

All company premises, home offices, and operational sites

## Persons at Risk

All staff

Visitors

Contractors

Neighboring properties

Emergency services

## Hazards and Controls

| Hazard | Existing Controls | S | L | R | Additional Controls | S | L | R |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Fire spread | Compartmentation, fire doors | 4 | 1 | 🟢 4 | Enhanced detection, suppression systems | 4 | 1 | 🟢 4 |
| Inadequate warning | Fire alarm system, testing regime | 4 | 1 | 🟢 4 | Interconnected systems, visual alarms | 4 | 1 | 🟢 4 |
| Evacuation failure | Practiced procedures, trained wardens | 4 | 1 | 🟢 4 | Personal evacuation plans, refuge areas | 4 | 1 | 🟢 4 |
| Arson risk | Security measures, waste management | 3 | 1 | 🟢 3 | CCTV coverage, access control | 3 | 1 | 🟢 3 |
| Hot work ignition | Permit system, fire watch | 3 | 2 | 🟡 6 | Hot work training, detection equipment | 3 | 1 | 🟢 3 |
| Electrical fire sources | PAT testing, fixed wire testing | 3 | 2 | 🟡 6 | Thermal imaging, arc detection | 3 | 1 | 🟢 3 |
| Flammable materials | COSHH assessment, storage controls | 3 | 2 | 🟡 6 | Fire cabinets, quantity limits | 3 | 1 | 🟢 3 |
| Kitchen fire risks | Extraction cleaning, equipment checks | 3 | 2 | 🟡 6 | Suppression systems, deep cleaning | 3 | 1 | 🟢 3 |

## PPE Requirements

Fire wardens: High visibility vests

Fire blankets (kitchen areas)

Heat resistant gloves (extinguisher training)

## Training Requirements

Fire awareness (all staff)

Fire warden duties

Extinguisher use

Evacuation chair operation

Incident command

Hot work procedures

## Emergency Procedures

Fire action notices

Evacuation strategy

Assembly procedures

Roll call system

Fire service liaison

Business continuity

Salvage operations

## Monitoring

Weekly alarm tests

Monthly emergency lighting

Quarterly evacuations

Annual risk assessment

Fire door inspections

Training records

Hot work permits

This document forms part of A M Water Services Limited's Integrated Management System. Paper copies are uncontrolled when printed.